Project Name:
New Job
Specification
Date: 2/2/2017

Project Number:
2


1.0 PART 2 - PRODUCTS
1.1 Materials

1.1.1 Local Operators Interface

1.1.1.1 Touch Screen: Operators Equipment Interface, Field Mounted

1.1  boofoo

A.  Equipment Touch Screen, Field Mounted:
1.  An Equipment Touch Screen display shall be provided where indicated. The touch screen shall be capable of acting as a zone sensor, local user interface, and technician tool. 

B.  Hardware Features: 

1.  The touch screen shall feature an illuminated, 4.3" color pixel touchscreen display and shall connect to a single system compatible Open (BACnet®) equipment controller to show the comfort and operating conditions for the connected equipment. Designed for wall mounting, up to 500 feet from controller, it shall include a built-in temperature and humidity sensor suitable for single-zone rooftop applications.

C.  Software Features:

1.  The touch screen shall include multi-level password protection for security and shall provide building occupants, facility managers, and technicians a powerful user interface for managing the connected equipment. 

2.  Building occupants shall easily adjust setpoints and initiate timed local overrides, while facility managers can monitor detailed operating conditions and also configure equipment schedules, trends, and alarms. 

3.  Technicians have the added benefit of using the touch screen as a technician tool, enabling them to start-up, commission, and troubleshoot the connected equipment. 

4.  The touch screen shall view or change its property values, schedule equipment, view trends and alarms, and more, without having to access the system's server.

1.1.1.2 Touch Screen: Operators System Interface, Field Mounted

1.2  boofoo

A.  System Touch Screen, Field Mounted for System use:

1.  A touch screen display shall be provided where indicated for system use. A System Touch Display shall be an integrated component of the Building Automation System. It shall feature an illuminated, 4.3" color pixel touchscreen display and shall connect directly to a network of Open (BACnet MS/TP), controllers. Designed for wall mounting, it shall provide building occupants, facility managers, and installers a user interface for managing equipment in the building.

B.  Hardware Features:

1.  The touch screen shall feature an illuminated, 4.3" color pixel touchscreen display and shall connect to the building automations system BACnet MS/TP network. The controller shall show the comfort and operating conditions for the connected equipment. Designed for wall mounting, and connected to an MS/TP BACnet network up to 8000 feet in length. 

2.  It shall include a built-in temperature and humidity sensor suitable for single-zone rooftop applications, if needed.

C.  Software Features:

1.  The touch screen shall include multi-level password protection for security and shall provide building occupants, facility managers, and technicians a user interface for managing the connected equipment. 

2.  Building occupants shall easily adjust setpoints and initiate timed local overrides, while facility managers can monitor detailed operating conditions and also configure equipment schedules, trends, and alarms. 

3.  Technicians shall have the benefit of using the touch screen as a technician tool, enabling them to start-up, commission, and troubleshoot the connected equipment. 

4.  The touch screen shall view or change its property values, schedule equipment, view trends and alarms, and more, without having to access the system's server. 

5.  The touch screen shall offer audible and visual indicators for all alarms in the system, with the capability to view, acknowledge, and delete system alarms from a single screen.

2.0 Sequences of Operation

2.1 Sequence of Operation for 
Prepared By: 
Page 1 of 3

