## 5 stg Inverter questions
DATA POINT | Needed information
If possible take pictures of UI screens. | We would prefer pictures when possible
FAULT CODES
Address of home or unit
Outdoor model #
Outdoor serial #
Outdoor unit software version from the model/serial # screen under service menu
MOC numbers - on labels on edge of inverter
Indoor model #
Indoor serial #
Coil model # (if applicable)
Coil serial # (if applicable)
Lineset length and size
Amount of refrigerant added on startup in ounces
Thermostat type
Thermostat model #
Thermostat serial #
Thermostat software version
What is the homeowner complaint? Why are you on site?
What is the units current status? Running or not?
When was the unit installed? Has the unit run successfully in the past?
Outdoor and indoor temperatures and conditions - DB and WB if available inside and outside. Prefer DB readings directly from UI if available.
All operational temperatures and pressures. All data shown on communicating UI status screen if available. Suction, discharge temp and pressures, superheat and subcooling - verified with gauges.
What codes are present currently and in the UI history - time and date stamp and quantitiy / frequency needed. Pictures if available.
The run & cycle history of the OD unit - available in service menu on some thermostats.
Picture of location of ODU or description. Is unit in restricted airflow area?
Any power loss events that are known from home owner. | #NAME?